## Bid Offer Sheet
Price Offer Sheet
Item Description | Quantity | Unit of Measure | Unit Price | Total Price
9 KVA Generator with minimum or equivalent to following specifications: Power output rated 8 KVA (20 HP) Single phase Fuel unleaded gasoline Startup: Self Start European, USA, Japanese Technology Noise level 72 DB or low output Voltage: 220 V AC Continues operating hour 6.5 -8 hours Displacement (cm3) 640-690 RPM 3000-3600 Semi Canopy Outlets: 2 x 220V 30A AC socket & 1 x 12V 8.3A DC socket Dimension (Length 20.5" X height 23.5" Xweidth 27") Dry weight (KG) 155-162 Engine (GX 630H) type OHV air cooled 4 stroke single cylinder Warranty One year - service and parts note:- this includes new battery, engine oil etc. (complete in all respect), commissioning and delivery charges | 31 | Each
Total before tax:
GST (if applicable)
Total:
Company Name:
Name of Representative:
Title:
Signature:
Date:
Tender #: