## Sheet1
BILL OF QUANTITIES FOR REHABILITATION OF BENANE WATER SCHEME IN LAGDERA SUB-COUNTY ,GARISSA COUNTY .
No | Description | Unit | Quantity | Rate | Amount
Bill No 1: Preliminary and General items
1.1.1 | Mobilization and demobilization of plant and equipment to and from Benane (190km*2=380km) outside Garissa town | LS | 1 | 200000 | 200000
1.1.2 | Provisional sum for Project Monitoring,Supervision and site meetings. | LS | 1 | 150000 | 150000
| Provisional sum of undertaking EIA | LS | 1 | 150000 | 150000
1.1.3 | Construct standard sign board as per specification given by the Engineer | No | 1 | 100000 | 100000
| Total for bill no 1 carried forward to sammary sheet |  |  |  | 600000
BILL NO 2: Rehabilitation of infiltration well and gallary
2
2.1.1 | Bush clearing around the Infiltration well | M | 400 | 200 | 80000
2.1.2 | Supply and deliver Dayliff water pump capacble of discharging 25m³/h (DC50P) with and inlet and outlet horse pipes of 20m each to de-water the well. | No | 1 | 80000 | 80000
2.1.3 | Dewatering, Desilting, desludging and cleaning ofthe infiltration gallery | M³ | 30 | 6000 | 180000
2.1.4 | Repair of the infiltration well | ls | 1 | 100000 | 100000
| Total for bill no 2 carried forward to sammary sheet |  |  |  | 440000
BILL NO.3 EQUIPPING &REPAIR
3.1.1 | Supply and installation of a 5.5kw Grunfos pump fitted withTesla motor | No | 1 | 600000 | 600000
3.1.2 | Supply and installation of a 63A Havells changeovers witch (for manual switching between solar and grid) | No | 1 | 25000 | 25000
3.1.3 | Troubleshooting and Repair of existing solar system and electricity(Wiring) | LS | 1 | 100000 | 100000
| Total for bill no 3 carried forward to sammary sheet |  |  |  | 725000
BILL NO.4 REPAIR OF PIPING SYSTEM
| PIPE WORK |  |  |  | 0
4.1.1 | Bush clearing along the pipeline route n.e 2m on either sides | M2 | 1600 | 50 | 80000
4.1.2 | Excavation of trenches and backfilling 0.5-0.6M |  |  |  | 0
4.1.3 | Supply,lay and join 50 mm dia pvc class C pipes with necessary fittings. | M | 500 | 220 | 110000
4.1.4 | Supply,lay and join 20 mm dia pvc class C pipes with necessary fittings. | M | 300 | 140 | 42000
4.1.5 | 50 mm dia gate valve (peggler) | No | 2 | 9000 | 18000
4.1.6 | 50 mm dia gate valve (peggler) | No | 2 | 8000 | 16000
4.1.7 | 50mm dia 900 GI Bend | No | 5 | 1500 | 7500
4.1.8 | 50mm dia GI Nipples | No | 6 | 600 | 3600
4.1.9 | 50mm dia GI Elbow | No | 6 | 500 | 3000
4.1.10 | 50mm dia Water flow meter | No | 1 | 5000 | 5000
4.1.11 | 50mm dia GI Non-Return valve | No | 2 | 9000 | 18000
4.1.12 | PVC valve socket 50mm dia | No | 6 | 400 | 2400
4.1.13 | PVC Equal Tee “T” 50mm dia | No | 6 | 350 | 2100
4.1.14 | Thread tapes | No | 50 | 100 | 5000
4.1.15 | Provide for the costruction of standard valve chambers 1 M x 1 M x 0.8 M deep | No | 2 | 25000 | 50000
| Total for bill no 4 carried forward to sammary sheet |  |  |  | 362600
WORK SUMMARY
Bill.NO.1 | Preliminaries and general items |  |  |  | 600000
Bill.No .2 | Rehabilitation of infiltration well&Gallary . |  |  |  | 440000
Bill No.3 | Equipping and Repairs |  |  |  | 725000
Bill No.4 | Pipeworks |  |  |  | 362600
| Sub- Total |  |  |  | 2127600
| Contingency Sum (10%) |  |  |  | 212760
| CONTRACT SUM CARRIED TO FORM OF TENDER |  |  |  | 2340360